Renewable Energy Orchestrator (REO)

Business Requirements Document (BRD)

Client-ready specification

| Version | 1.1 |
| --- | --- |
| Date | 23 September 2026 |
| Deployment | Cloud-neutral; first client on AWS |
| Market | European electricity market; GDPR applicable |
| Classification | Confidential — client proposal |

# 1. Executive summary

The Renewable Energy Orchestrator is a production-grade decision and control platform that coordinates renewable generation, battery storage, flexible demand, grid interconnections and electricity-market participation. Every 10 minutes it evaluates current telemetry, forecasts, asset constraints, market conditions and uncertainty; produces a feasible portfolio plan; explains trade-offs; and, according to the selected autonomy mode, either observes, recommends, requests approval or executes policy-bounded commands.

The product is cloud-neutral and packaged as a reusable multi-tenant platform, with the first client deployment on AWS. It is designed for European operations, GDPR, industrial cybersecurity, traceability and high-availability operation.

# Document assumptions and regulatory note

The product makes a 10-minute operational decision but settlement, nominations and financial reporting are independently configurable. For a pan-European baseline, the reference imbalance settlement period is 15 minutes; a 30-minute client interval is supported only where the applicable national market or exemption requires it.

Production control is implemented through a segregated operational-technology command gateway. The cloud never writes directly to field devices; commands require policy checks, equipment interlocks, acknowledgement and rollback/fail-safe handling.

Initial reference portfolio: 5 solar farms, 3 wind farms, 2 battery systems, industrial consumers, grid interconnections and market access. Capacity is sized for 2× expansion without redesign.

Target operating modes: Observe, Recommend, Approve-before-execute and Autonomous-within-policy-limits.

The solution is a reusable multi-tenant product with a supported single-tenant/configurable-accelerator deployment pattern for clients requiring stronger isolation.

# 2. Business problem and opportunity

Variable solar and wind production creates imbalance exposure, curtailment and reliability risk.

Batteries, demand flexibility, market positions and grid constraints are commonly optimised in separate tools, producing locally optimal but portfolio-suboptimal decisions.

Human operators cannot consistently evaluate thousands of combinations and uncertainty scenarios every 10 minutes.

Clients require transparent automation that can be introduced progressively without bypassing existing SCADA/EMS protection layers.

A productised orchestrator can reduce operating cost and emissions, increase renewable utilisation and provide auditable decision governance.

# 3. Business objectives

| ID | Objective | Target / measurement |
| --- | --- | --- |
| BO-01 | Minimise total portfolio operating cost | Baseline-adjusted cost reduction measured by settlement period and month. |
| BO-02 | Maximise renewable utilisation | Renewable energy consumed or exported / available renewable energy. |
| BO-03 | Maintain reliability and grid compliance | Zero unsafe commands; constraint violations blocked; availability ≥99.95% for control plane target. |
| BO-04 | Limit battery degradation | Optimise cycling cost, depth-of-discharge, temperature and warranty limits. |
| BO-05 | Reduce carbon impact | Track operational and marginal emissions; configurable carbon price. |
| BO-06 | Enable progressive autonomy | Four governed modes with per-asset, per-action and per-risk policies. |
| BO-07 | Demonstrate decision reliability | Replay, shadow operation, simulation, confidence scoring and deterministic feasibility validation. |
| BO-08 | Create a sellable platform | Multi-tenant core, client configuration packs, APIs, deployment automation and evidence pack. |

# 4. Stakeholders

| Stakeholder | Primary need |
| --- | --- |
| Control-room operator | Clear alerts, recommendations, approvals, execution status and override. |
| Portfolio optimiser / trader | Market-aware dispatch, forecast confidence and P&L attribution. |
| Asset manager | Health, degradation, availability and maintenance coordination. |
| Grid / compliance officer | Constraint compliance, evidence and audit trail. |
| Data protection officer | DPIA evidence, minimisation, redaction and data-subject controls. |
| Cybersecurity / OT team | Zone separation, allow-listed commands, incident response and secure access. |
| Client administrator | Tenant, users, policies, models, integrations and configuration. |
| Executive sponsor | Value KPIs, risk posture and adoption roadmap. |

# 5. Scope

In scope:

File/path upload and scheduled folder ingestion; CSV, JSON, XML, Parquet, Excel, images, PDF and supported time-series exports.

Database and platform connectivity through JDBC/ODBC-compatible sources, REST, Kafka, MQTT, OPC UA and IEC protocol adapters.

Live telemetry, forecasts, weather, alerts, maintenance, market and carbon data.

Digital twin and scenario simulation over 12-hour, 24-hour, 48-hour and 7-day horizons.

Forecasting, uncertainty generation, constrained multi-objective optimisation and policy-aware action planning.

Operational dashboard, approvals, live commands, acknowledgement, rollback, audit and KPI reporting.

PII discovery/redaction, GDPR lifecycle controls and data-residency configuration.

Multi-tenancy and isolated single-client deployment.

Out of scope for the base release:

Replacement of protective relays, PLC safety logic, SCADA master station or market settlement system.

Unsupervised modification of protection settings or firmware.

Direct cloud-to-device control that bypasses the client’s OT command gateway and equipment interlocks.

Country-specific market certification until the target Member State, TSO/DSO and NEMO are confirmed.

# 6. Business capabilities

| Capability | Description |
| --- | --- |
| Portfolio digital twin | Canonical model of sites, assets, network limits, contracts, consumers and market interfaces. |
| Data fabric | Batch, streaming and multimodal ingestion with quality, lineage, schemas and replay. |
| Forecast intelligence | Solar, wind, demand, price and availability forecasts with probabilistic bands. |
| Scenario laboratory | Deterministic and Monte Carlo what-if simulation with shocks and contingency events. |
| Decision engine | Multi-objective optimisation subject to physical, contractual and policy constraints. |
| Agentic orchestration | Specialist agents prepare evidence, challenge plans, explain outcomes and manage workflows. |
| Safe action execution | Approval, command envelope, interlocks, two-phase execution, acknowledgement and recovery. |
| Governance cockpit | Modes, policies, overrides, incident controls, audit and model/agent monitoring. |
| Commercial analytics | Savings, revenue, imbalance cost, curtailment, emissions and battery degradation attribution. |

# 7. Business rules

| Rule | Requirement |
| --- | --- |
| BR-01 | Safety and hard technical constraints always dominate economic objectives. |
| BR-02 | The optimiser may only select actions within the current asset capability and policy envelope. |
| BR-03 | An LLM/agent may not directly issue an actuator command; an independently validated structured action must pass the deterministic safety layer. |
| BR-04 | Manual override, SCADA interlocks and local protection take precedence over the orchestrator. |
| BR-05 | If telemetry is stale, contradictory or below confidence thresholds, the system must degrade to a safer mode. |
| BR-06 | Every recommendation and command must retain inputs, model versions, constraints, objective weights, alternatives, approvals and outcome. |
| BR-07 | Tenant data and credentials must not cross tenant boundaries. |
| BR-08 | Personal data must be minimised, redacted/pseudonymised where possible and retained only under configured schedules. |

# 8. Success criteria

| Dimension | Pilot acceptance criterion |
| --- | --- |
| Feasibility | 100% of proposed actions pass independent constraint validation before release. |
| Safety | 100% blocked when outside command envelope; tested emergency stop and fallback. |
| Decision latency | Normal 10-minute cycle completed within 120 seconds; fast re-plan within 30 seconds for critical events. |
| Forecast quality | Reported against persistence and approved client baselines with MAE/RMSE/coverage. |
| Economic value | Back-test and shadow-mode improvement versus client baseline, with statistically valid reporting. |
| Availability | Control path target 99.95%; dashboard target 99.9%, excluding agreed maintenance. |
| Audit | Complete evidence chain retrievable by decision ID. |
| Governance | All four autonomy modes demonstrated with role-based approval and override. |

# 9. Delivery approach

Discovery, market and grid-code confirmation, OT safety assessment and DPIA.

Data foundation, digital twin and historical replay.

Forecasts, scenario engine and offline optimiser validation.

Observe mode followed by shadow/recommend mode.

Approval mode with hardware-in-the-loop and site acceptance testing.

Restricted autonomous pilot for low-risk actions within narrow envelopes.

Progressive expansion by asset, action class and operating condition.

# Reference sources

| Source | Use in specification |
| --- | --- |
| EU Electricity Regulation (EU) 2019/943 | Reference imbalance settlement period is 15 minutes, subject to applicable exemptions. |
| Commission Regulation (EU) 2017/2195 | Electricity balancing and imbalance-settlement framework. |
| GDPR Regulation (EU) 2016/679 | Data protection by design/default, data minimisation and DPIA obligations. |
| NIS2 Directive (EU) 2022/2555 | Cybersecurity risk management applicable to relevant energy entities. |
| EU AI Act / European Commission guidance | Potential high-risk treatment where AI is a safety component in critical infrastructure; classification must be assessed for the deployed use case. |
| IEC 62443 series | Industrial automation and control-system cybersecurity principles. |
| AWS IoT SiteWise and AWS IoT Greengrass official documentation | AWS-specific industrial-edge and OPC UA implementation reference. |

# 10. Platform, decision transparency and client integration requirements

The Renewable Energy Orchestrator shall be delivered as a configurable platform rather than a single-purpose application. The platform shall provide tenant administration, portfolio and asset onboarding, configurable workflows, reusable connectors, policy packs, role-based access, dashboard composition, API lifecycle management, audit and reporting capabilities.

Every proposed, approved, rejected, modified, executed, failed, rolled-back or expired decision affecting energy procurement, energy-source switching, renewable curtailment, demand response, SCADA/EMS commands or BESS charge/discharge/reserve settings shall be visible in the platform dashboard. Records shall include inputs, objective trade-offs, constraints, confidence, reasoning, approver activity, outbound signal, acknowledgement and measured outcome.

The dashboard shall allow authorised users to register client-system API endpoints, choose an approved authentication method, test connectivity, map payloads, configure approval requirements and enable or disable execution. Secrets shall be stored in a managed secrets vault and shall never be displayed after entry.

Users shall be able to export the filtered decision and signal ledger as an Excel workbook for governance, settlement support, operational review, incident analysis and audit.

| ID | Business requirement | Acceptance outcome |
| --- | --- | --- |
| BR-PLT-01 | Operate as a reusable, configurable, multi-tenant platform with tenant-isolated configuration, policies, data and audit records. | A new tenant can be provisioned and configured without source-code changes. |
| BR-DEC-01 | Capture the full lifecycle of every energy procurement, source-switching, SCADA/EMS and BESS decision. | Dashboard presents proposal, reasoning, approval, dispatch, acknowledgement and outcome. |
| BR-DEC-02 | Maintain an immutable, time-synchronised decision and signal ledger. | Records are searchable by tenant, portfolio, asset, decision, interval, status and approver. |
| BR-EXP-01 | Provide downloadable Excel exports of all filtered decisions, reasoning and signals. | Export is permission-controlled, tenant-scoped, timestamped and audit logged. |
| BR-API-01 | Allow authorised humans to configure API endpoint, authentication reference, payload mapping and approval policy through the platform. | Connection can be tested in a sandbox before activation; credentials remain masked. |
| BR-HITL-01 | Allow a human to approve, reject, modify within authorised limits, hold or expire a decision before API/OT execution. | No approval-gated command is sent without a valid, unexpired approval. |
| BR-SAF-01 | Separate business API execution from safety-critical OT command execution and retain hard interlocks. | SCADA/BESS signals pass policy, safety, rate-limit and command-gateway checks. |

Version 1.1 update scope: Platform product positioning; complete decision/signal dashboard lineage; governed Excel export; human-configurable API integration and authentication; approval-gated execution; and strengthened multi-tenant, OT and connector security controls.