Renewable Energy Orchestrator (REO)

Technical Requirements Document (TRD)

Client-ready specification

| Version | 1.1 |
| --- | --- |
| Date | 23 September 2026 |
| Deployment | Cloud-neutral; first client on AWS |
| Market | European electricity market; GDPR applicable |
| Classification | Confidential — client proposal |

# 1. Technical strategy

Use a cloud-neutral, containerised microservice architecture with industrial edge gateways. The optimisation and safety services are deterministic and independently testable. Generative AI is restricted to unstructured-data extraction, workflow coordination, critique and natural-language explanation; it is never the final authority for physical control.

# 2. Logical technology stack

| Layer | Cloud-neutral component | AWS implementation example |
| --- | --- | --- |
| Edge | Linux industrial gateway, container runtime, OPC UA/MQTT/IEC adapters, local buffer and command proxy | AWS IoT Greengrass V2; IoT SiteWise/partner or custom OPC UA collectors |
| API/ingress | API gateway, ingress controller, WAF, service mesh | Amazon API Gateway/ALB, AWS WAF, EKS ingress |
| Streaming | Kafka-compatible event bus, MQTT broker, schema registry | Amazon MSK, AWS IoT Core, Glue Schema Registry or self-managed |
| Workflow | Kubernetes jobs/services, workflow engine, durable scheduler | Amazon EKS, Step Functions or Temporal on EKS |
| Operational data | PostgreSQL, time-series extension/database, Redis | Amazon Aurora PostgreSQL, Timestream or TimescaleDB on RDS/EKS, ElastiCache |
| Lakehouse | Object storage, open table format, catalogue | Amazon S3, Iceberg, AWS Glue Data Catalog |
| Optimisation | Python/Java service with LP/MILP/QP/stochastic solver abstraction | EKS compute nodes; commercial solver licence optional |
| ML/MLOps | Model registry, feature pipelines, serving, monitoring | SageMaker or MLflow/KServe on EKS |
| Agent runtime | Model gateway, typed tools, retrieval, policy enforcement | Managed model service or self-hosted model through private endpoints; vendor-neutral adapter |
| Identity/secrets | OIDC/SAML, MFA, secrets and key management | IAM Identity Center/Cognito federation, Secrets Manager, KMS |
| Observability | OpenTelemetry, metrics, logs, traces, SIEM export | CloudWatch, Managed Prometheus/Grafana, OpenSearch, Security Hub integration |
| CI/CD/IaC | Git, pipeline, image registry, Terraform/OpenTofu | CodePipeline or enterprise CI, ECR, Terraform |

# 3. Canonical data model

| Entity | Key attributes |
| --- | --- |
| Tenant | tenant_id, residency, policies, keys, quotas, deployment mode |
| Portfolio/Site | location, timezone, market area, grid connection, topology |
| Asset | type, rating, capability curve, ramp, availability, owner, control endpoint |
| Battery | SoC, SoH, energy/power limits, efficiencies, temperature, degradation model, warranty |
| Telemetry | asset_id, metric, event_time, ingest_time, value, unit, quality, source |
| Forecast | variable, issue_time, valid_time, quantile/scenario, value, model_version |
| Constraint | scope, expression/type, hard/soft, limit, effective period, source |
| Objective policy | priority/weight, penalty, risk metric, carbon price, version, approver |
| Decision | snapshot, horizon, plan, alternatives, scores, confidence, status |
| Action | asset, action_type, quantity, start/end, envelope, expiry, risk |
| Approval | decision/action, approver, outcome, reason, timestamp, signature |
| Command | action, adapter, prepare/commit/ack status, idempotency key, result |
| Audit event | actor, tenant, event, hash chain, timestamp, evidence pointer |

# 4. Optimisation requirements

Reference formulation: rolling-horizon mixed-integer linear or quadratic optimisation, with stochastic/scenario extensions. Non-linear equipment effects may be piecewise-linearised or solved using specialised methods after performance validation.

| Type | Requirements |
| --- | --- |
| Decision variables | Generation used/curtailed; battery charge/discharge/SoC/reserve; grid import/export; demand response/shift; market positions; maintenance recommendation. |
| Hard constraints | Nodal/portfolio power balance, grid import/export and transmission limits, SoC bounds, charge/discharge limits, efficiencies, ramp rates, minimum up/down where applicable, availability, reserve, mutually exclusive states, command envelopes. |
| Soft constraints | Preference violations represented with explicit penalties and audit-visible slack variables. |
| Objectives | Cost + imbalance exposure + degradation + carbon + curtailment + reliability penalty − market/demand-response revenue. |
| Multi-objective methods | Lexicographic safety/reliability first; weighted economic/environmental objectives; ε-constraints for emissions/curtailment; Pareto alternatives. |
| Risk | Expected value plus CVaR/worst-case stress limits; configurable chance constraints where validated. |
| Horizons | 12h, 24h, 48h and 7d; variable granularity may use 10-min near-term and coarser far-term intervals. |
| Settlement mapping | Aggregate 10-minute dispatch into the configured national market time unit; baseline defaults to 15-minute EU imbalance settlement, with 30-minute support by jurisdiction. |
| Performance | Normal solve target ≤90 sec within 120-sec cycle; fast feasible plan ≤20 sec for event re-plan. |
| Verification | Independent feasibility checker re-evaluates every action using current state and a separately implemented constraint subset. |

# 5. Agent design

| Agent | Purpose | Permitted tools | Prohibited |
| --- | --- | --- | --- |
| Orchestrator | Create workflow and collect typed outputs | Workflow API, read-only state, policy query | Physical command |
| Data-quality agent | Diagnose missing/stale/contradictory inputs | Data catalogue, quality API | Changing raw source |
| Forecast agent | Select approved forecast and interpret uncertainty | Model registry, forecast API | Deploying unapproved model |
| Asset agent | Assess capability, health and maintenance impacts | Digital twin, maintenance records | Override equipment limits |
| Market agent | Interpret prices, positions and deadlines | Market API, contract data | Unauthorised market order |
| Grid agent | Assess network constraints and reliability | Topology, constraints, alarms | Change relay/protection settings |
| Optimisation agent | Prepare structured optimisation request and summarise result | Optimiser API | Alter solver result or issue command |
| Risk/Critic agent | Challenge feasibility, uncertainty and policy | Read-only plan/evidence | Approve own plan |
| Explanation agent | Generate operator explanation from evidence | Decision evidence only | Invent unsupported rationale |
| Governance agent | Route approvals and monitor policy compliance | Policy/approval APIs | Relax hard constraints |

# 6. Agent and model guardrails

Typed JSON schemas; reject free-form tool parameters.

Per-agent allow-list, least-privilege service identity and tenant-scoped retrieval.

Prompt-injection screening for uploaded documents and retrieved content; external content is treated as data, not instructions.

PII redaction before model calls; configurable no-external-model policy.

No training on tenant content without explicit agreement.

Grounded explanations include source/evidence references and uncertainty; unsupported claims are suppressed.

Model gateway records model/version, tokens, latency, safety results and data classification.

Dual-model or rule-based critic for high-impact recommendations where justified.

Kill switch, rate limits, budget limits and automatic downgrade to deterministic workflow.

# 7. API and event requirements

| Interface | Requirement |
| --- | --- |
| REST | OpenAPI 3.x, OAuth2/OIDC, tenant context, idempotency, pagination, rate limits and correlation IDs. |
| Events | CloudEvents-compatible envelope; Avro/JSON Schema; schema compatibility and replay. |
| MQTT | mTLS, topic-level authorisation, QoS policy, retained-message restrictions. |
| Kafka | TLS/SASL, per-tenant topic or enforced tenant key, consumer lag monitoring, dead-letter topics. |
| OPC UA | Secure policy/certificates, source timestamps and quality, namespace mapping, subscription limits. |
| IEC adapters | Use certified/approved gateway where required; isolated adapter converts to canonical telemetry/command model. |
| JDBC | Secrets vault, read-only default, allow-listed queries, CDC/watermarks and connection pooling. |
| Files | Malware scan, checksum, size/type limits, content disarm where needed and quarantine. |

# 8. Security requirements

| ID | Area | Requirement |
| --- | --- | --- |
| SEC-01 | Network segmentation | Separate corporate, cloud, DMZ and OT zones; default deny and one-way/initiated connections where feasible. |
| SEC-02 | Identity | SSO, MFA, short-lived workload identity, RBAC+ABAC and segregation of duties. |
| SEC-03 | Encryption | TLS 1.2+ in transit; strong encryption at rest; tenant/customer-managed keys supported. |
| SEC-04 | Secrets | No embedded credentials; central secrets vault, rotation and access auditing. |
| SEC-05 | Command signing | Commands and policy bundles digitally signed; edge verifies signature, tenant, expiry and nonce. |
| SEC-06 | Audit | Append-only/tamper-evident audit with restricted delete and time synchronisation. |
| SEC-07 | Supply chain | SBOM, signed images, dependency scanning, SAST/DAST, provenance and admission policy. |
| SEC-08 | Vulnerability | Risk-based patch SLA; critical internet-facing vulnerabilities expedited; OT maintenance windows respected. |
| SEC-09 | Detection | Central logs, behavioural alerts, impossible-action detection, SIEM/SOC integration. |
| SEC-10 | Incident response | Runbooks for compromised account, bad model, bad data, unsafe plan, adapter failure and cyber isolation. |
| SEC-11 | Standards | Design aligned to IEC 62443 zones/conduits, NIS2 risk controls and applicable ISO 27001 programme. |
| SEC-12 | Privacy | GDPR privacy by design/default, DPIA, minimisation, pseudonymisation, retention and rights support. |

# 9. Reliability and disaster recovery

| Component | Target |
| --- | --- |
| Cloud control plane | Multi-AZ; RTO ≤60 minutes, RPO ≤15 minutes target. |
| Critical configuration/audit | Cross-region backup or replication; target RPO ≤5 minutes for audit/command records. |
| Edge gateway | Redundant industrial gateways where site criticality requires; local buffer ≥24 hours. |
| Message bus | At-least-once delivery with idempotent consumers; no untracked loss. |
| Command path | Idempotent, expiring commands; acknowledgement and reconciliation. |
| Time | NTP/PTP strategy; UTC canonical timestamps and clock-drift alerts. |
| Fallback | Last feasible plan, deterministic safe policy, autonomy downgrade and local operator control. |

# 10. Verification and testing

Unit, component, contract, integration and end-to-end automated tests.

Historical replay and back-testing against approved baselines.

Property-based tests for conservation of energy, bounds and idempotency.

Monte Carlo and stress tests; N-1 asset/line/connectivity failures.

Software-in-the-loop, SCADA simulator, hardware-in-the-loop and factory/site acceptance tests.

Red-team tests for prompt injection, cross-tenant leakage, tool abuse and PII leakage.

Cybersecurity penetration test covering cloud, API, edge and command gateway.

Failover, restore and disaster-recovery exercises.

Shadow-mode comparison before approval/autonomous production operation.

# Reference sources

| Source | Use in specification |
| --- | --- |
| EU Electricity Regulation (EU) 2019/943 | Reference imbalance settlement period is 15 minutes, subject to applicable exemptions. |
| Commission Regulation (EU) 2017/2195 | Electricity balancing and imbalance-settlement framework. |
| GDPR Regulation (EU) 2016/679 | Data protection by design/default, data minimisation and DPIA obligations. |
| NIS2 Directive (EU) 2022/2555 | Cybersecurity risk management applicable to relevant energy entities. |
| EU AI Act / European Commission guidance | Potential high-risk treatment where AI is a safety component in critical infrastructure; classification must be assessed for the deployed use case. |
| IEC 62443 series | Industrial automation and control-system cybersecurity principles. |
| AWS IoT SiteWise and AWS IoT Greengrass official documentation | AWS-specific industrial-edge and OPC UA implementation reference. |

# 11. Platform services, decision ledger and connector security

Introduce dedicated Platform Control Plane, Decision Ledger Service, Approval Workflow Service, Connector Management Service, Credential Broker, Signal/Command Gateway, Export Service and Audit Evidence Service. Services shall be independently deployable, tenant-aware, observable and accessible only through authenticated APIs.

The platform must not permit arbitrary server-side requests from user-entered endpoints. Connector activation shall enforce URL parsing, protocol allowlists, tenant egress policies, DNS/IP revalidation, private-endpoint preference, blocked metadata/link-local/loopback ranges, certificate verification, request size limits, timeouts, rate limits and controlled redirects. Authentication material shall be referenced from a managed secrets service and never persisted in logs, events, exports or the application database.

Decision records and command events shall be append-only. Corrections create a new version or compensating event. All services shall use UTC timestamps with site time-zone rendering, correlation IDs and idempotency keys. OT commands require freshness, asset-state, interlock, ramp-rate, operating-envelope and approval checks immediately before dispatch.

Excel exports shall be produced by isolated workers from authorised, tenant-scoped read models. Free-text cells shall be neutralised against spreadsheet-formula injection, sensitive fields redacted, files encrypted in transit and at rest, and pre-signed download links short-lived.

| Technical ID | Requirement |
| --- | --- |
| TR-PLT-01 | Multi-tenant control-plane APIs for tenant, user, policy, connector, feature and subscription configuration. |
| TR-LED-01 | Append-only decision ledger with event schema versioning, cryptographic checksum and immutable retention option. |
| TR-LED-02 | Decision-to-signal lineage using decision_id, decision_version, correlation_id, causation_id and optimisation_run_id. |
| TR-API-01 | REST connectors use OpenAPI/JSON Schema validation; Kafka/MQTT connectors use registry-managed schemas and controlled topic permissions. |
| TR-AUTH-01 | Support OAuth 2.0 client credentials, mTLS, API keys and signed tokens through pluggable credential providers; prohibit passwords in configuration fields. |
| TR-SSRF-01 | Validate destinations against allowlists and egress policy; block loopback, link-local, metadata and unauthorised private ranges; re-resolve DNS at execution. |
| TR-APP-01 | Approval tokens bind decision version, approver, permitted modification bounds and expiry; execution rejects stale tokens. |
| TR-OT-01 | OT command gateway remains separately segmented and performs deterministic safety validation independent of the agent layer. |
| TR-EXP-01 | Generate XLSX with streaming writer, formula-injection protection, pagination/partitioning, checksum and expiring object-store URL. |
| TR-AUD-01 | Audit connector changes, secret-reference changes, tests, approvals, exports, downloads, commands, acknowledgements and break-glass access. |
| TR-NFR-01 | Dashboard receives decision/signal state updates by secure event stream or WebSocket/SSE with polling fallback. |
| TR-NFR-02 | API and export workloads are rate-limited per tenant; noisy-neighbour controls protect operational optimisation and command paths. |

Version 1.1 update scope: Platform product positioning; complete decision/signal dashboard lineage; governed Excel export; human-configurable API integration and authentication; approval-gated execution; and strengthened multi-tenant, OT and connector security controls.